## Method Tests
Table S1. An annotated list of references providing results on methodological tests of environmental microbiome or eDNA sampling and processing. Studies on both marine and freshwater biomes are included. Some studies include tests on RNA; in these cases we only describe the results for DNA. Abbreviations include: PCI, phenol:chloroform:isoamyl alcohol; MCE, mixed cellulose ester; PC, polycarbonate; PES, polyethersulfone; DO, dissolved oxygen; CTAB, cetyltrimethyl ammonium bromide; CN, cellulose nitrate or nitrocellulose; GF, glass fiber; EtOH, ethanol; PCN, positively charged nylon; PVDF, polyvinylidene fluoride.
Reference | DOI | Method or parameter tested | Environment | Target organism(s) | Volume filtered/sample | Filter type | Sample preservation method | DNA extraction method | Gene target(s) | Molecular test | Accession | Major findings
Allison et al. 2020 | https://doi.org/10.1186/s13104-021-05530-x | filter preservation | freshwater aquariums | American bullfrog | 1 L | 0.45 μm MCE | Two tested: dry with silica beads and submerged in 95% EtOH | Qiagen DNEasy Blood & Tissue kit | mitochondrial 16S rRNA, 12S rRNA | qPCR | NA | Silica desiccation worked well to preserve filters at a range of temperatures for time periods up to one month.
Barnes et al. 2020 | https://doi.org/10.1002/edn3.160 | (1) filter pore size, (2) environmental parameters (chlorophyll, turbidity, DO, pH, biochemical oxygen demand, conductivity, temperature) | freshwater ponds | common and bigheaded carp | 280 mL | Serial filtration through 20 μm, 10 μm, 5 μm, 1 μm, and 0.2 um pore size filters (60 μm prefilter) | CTAB at −20°C | CTAB (https://doi.org/10.4319/lom.2005.3.381) | mitochondrial D-loop | qPCR | NA | eDNA more likely to be captured on 10 µm filters with increasing chlorophyll and turbidity, suggesting eDNA is "sticky" and can adhere to particles
Byappanahalli et al. 2021 | https://doi.org/10.3389/fmicb.2021.665664 | filter pore size | freshwater lake | prokaryotes | 1 L | 5 μm CN followed by 0.22 μm CN | DNeasy PowerWater Kit bead tubes at −80° C | Qiagen DNEasy PowerWater kit | microbial 16S rRNA | MiSeq 2 x 250 PE (metabarcoding) and qPCR (marker taxa) | NCBI SRA: SAMN18870789–SAMN18870931 | "there were both qualitative and quantitative differences in bacterial communities between the two filter sizes with significant differences in number of taxa at all levels of taxonomic representation"
Cruaud et al. 2017 | doi.org/10.1002/lom3.10221 | internal vs external Sterivex cartridge DNA extraction | river | prokaryotes | 400 mL | 0.22 μm Sterivex (preceded by 20 μm and 3 μm prefilters) | Stored dry at -80° C | Two tested: internal and external cartridge extraction (Qiagen AllPrep DNA/RNA mini) | microbial 16S rRNA | MiSeq 2 x 300 PE amplicon sequencing | Not provided | Removing membrane from Sterivex cartridge and cutting it up gave 4x more DNA than standard approach
Deiner et al. 2015 | https://doi.org/10.1016/j.biocon.2014.11.018 | DNA extraction | lake and river | prokaryotes and macroinvertebrates | 15 mL | 0.7 µm GF/F (EtOH precipitation also tested) | Not provided (immediate extraction?) | Three tested: Qiagen DNEasy Blood & Tissue kit, MoBio PowerWater DNA Isolation kit, phenol:chloroform:isoamyl alcohol | microbial 16S rRNA, COI | MiSeq 2 x 250 bp PE amplicon sequencing | NCBI SRA: SRP049043 | Filtration and PCI extraction yielded the most total eDNA, precipitation and PowerWater kit yielded the least. 15 mL was not sufficient volume to capture total biodiversity.
Djurhuus et al. 2017 | https://doi.org/10.3389/fmars.2017.00314 | (1) filter type, (2) DNA extraction protocol | nearshore marine | all | 1 L | Five tested: 0.2 μm PVDF, 0.2 μm PES, 0.2 μm nitrocellulose, 0.2 μm PCTE, 0.7 μm GF/F | Stored dry at -80° C | Three tested: Qiagen DNEasy Blood & Tissue Kit, MoBio PowerWater DNA Isolation Kit, in-house PCI | 16S rRNA, 18S rRNA, 12S rRNA | MiSeq 2 x 250 bp PE amplicon sequencing | NCBI: SUB2901791 | When using kits, filter material did not affect eDNA yields. PCI extractions yielded more eDNA than kits and different community structures. Within PCI extractions, GF/F filters performed the worst; all other materials were equivalent.
Eichmiller et al. 2016 | https://doi.org/10.1111/1755-0998.1242 | (1) DNA capture method and (2) DNA extraction protocol | freshwater aquariums | carp | 500 - 4000 mL | Five tested: 0.2 μm, 0.6 μm, 1.0 μm, and 5.0 μm PC and 1.5 μm GF | Stored dry at -20° C | Six kits tested: (i) MoBio PowerSoil DNA Isolation Kit, (ii) MoBio PowerWater DNA Isolation Kit, (iii) MP Biomedicals FastDNA SPIN Kit, (iv) MP Biomedicals FastDNA SPIN Kit for Soil, (v) Qiagen DNeasy Blood & Tissue Kit, and (vi) Qiagen QIAamp DNA StoolMini Kit | cytochrome b (species-specific) | qPCR | NA | GF filter allowed the largest volume of water to filter before clogging and yielded the most DNA of all filters. Centrifugation had a lower carp eDNA yield than all filter types, and precipitation had the lowest carp eDNA yield overall.
Geerts et al. 2018. | doi.org/10.1016/j.ecolind.2017.08.068 | DNA extraction protocol | freshwater aquariums and natural ponds | crayfish | 200 mL | 0.45 μm nitrocellulose (Porafil) | Stored dry at -20° C | Three tested: phenol-chloroform-isoamyl alcohol, CTAB, MasterPure DNA purification kit (Epicentre) | COI and cytochrome c oxidase subunit III | Sanger sequencing | NA | Tested different DNA extraction methods and primer sets for invasive crayfish detection; Muyzer protocol recommended
Gray et al. 2013 | doi.org/10.1111/1574-6941.12008 | sample preservation | artificial seawater | prokaryotes | NA (swabs used) | NA | Five preservation buffers tested: FTA, FTA Elute, DESS, RNAlater, DNAGard | Qiagen DNEasy Blood & Tissue kit | 16S rRNA | Clone libraries & Sanger | NA | presence/absence data only; all liquid buffers performed comparably
Hinlo et al. 2017 | https://doi.org/10.1371/journal.pone.0179251 | (1) filter type, (2) filter preservation, (3) DNA extraction | freshwater aquariums | Oriental weatherloach | 200 mL - 2 L | Five tested: CN, GF, PES, MCE, PC (all 0.8 µm) | Two tested: EtOH at room temp, dry at -20°C | Three tested: modified DNeasy Blood & Tissue, MoBio PowerWater, ethanol precipitation | 12S rRNA | qPCR | NA | Filtration, filter storage in EtOH at RT, and DNEasy kit extraction yielded the most eDNA. MCE filters recovered the most eDNA with DNEasy extractions.
Holman et al. 2019 | https://doi.org/10.1038/s41598-019-47899-7 | filter preservation | marinas |  | 400 mL (8 x 50 mL) | 0.22 μm Sterivex (PES) | Two tested: 1.5 mL Longmire's buffer at RT and no preservative frozen at -80°C | Qiagen DNEasy Blood & Tissue (modified) | 18S rRNA & COI | MiSeq 2 x 300 PE amplicon sequencing | ENA: PRJEB33619 | Significantly more 18S reads from frozen vs Longmire's preserved samples, no difference for COI.
Hunter et al. 2019 | https://doi.org/10.1038/s41598-019-40977-w | (1) filtration volumes (scaled up across multiple filters), (2) preservation buffer, (3) extraction protocol | freshwater ponds | grass carp | 200 mL, 1X or 4X (combined; 800 mL total) | 1.2 µm PES | Two tested: Longmire's buffer and CTAB, both at 4° C | Two tested: PCI and CTAB-CI | mtDNA | ddPCR | NA | Combining multiple filters with smaller volumes increased DNA yield relative to a single filter. CTAB-PCI storage and extraction performed the best out of three tested combinations, apparently removing inhibitors without an extra purification step.
Jeunen et al. 2019 | https://doi.org/10.1002/ece3.4843 | (1) filter type, (2) DNA extraction protocol | harbor surface seawater | fish, crustaceans, eukaryotes | 500 mL - 5 L | Five tested: 0.2 and 1.2 μm PC, 0.2 and 1.2 μm CN, and GF 1.6 μm | Stored dry at -20° C | Seven tested: Qiagen Blood & Tissue, MoBio PowerWater, MoBio PowerMax Soil, Presto Mini gDNA, phenol:chloroform, silica beads, magnetic beads | 16S rRNA, 18S rRNA, COI | MiSeq 1 X 300 (16S) and 2 X 250 (18S, COI) amplicon sequencing | Not provided | CN outperformed PC and GF filters with filtration. Qiagen DNEasy Blood & Tissue kit outperformed other extraction methods.
LaCoursiere-Roussel et al. 2016 | https://doi.org/10.1111/1755-0998.12522 | (1) filter type, (2) water temperature | freshwater aquariums | brook charr | 1 L | Five tested: 0.2 μm and 0.45 μm MCE, 0.7 μm GF/F, 1.2 μm GF/C, and 3 μm A/D GF/F | Stored dry at -20° C | salt extraction (Aljanabi & Martinez 1997; DOI 10.1093/nar/25.22.4692) | cytochrome b | qPCR | NA | Tested effects of water temperature and filter material on eDNA capture. Fish in aquaria shed more DNA in warmer temperatures and these samples better represented fish biomass; glass fiber filters captured more DNA than mixed cellulose esters (BUT pore sizes also differed between materials).
Liang, Z. and Keeley, A. 2013. | https://doi.org/10.1021/es401342b | (1) filter type, (2) water chemical parameters | freshwater with DNA spike | Cryptosporidium parvum | 100 mL | Nine tested: 0.1, 0.2 and 0.45 μm PVDF, 0.2 and 0.45 μm PES, 0.2 and 0.45 μm PC, 0.2 and 0.45 μm MCE | NA (extracted immediately) | MoBio PowerSoil kit | 18S rRNA | qPCR | NA | PC filters bound the least and MCE bound the most extracellular DNA with filter pore size of 0.2 μm. DNA recovery improved with higher turbidity and lower pH.
Majaneva et al. 2018. | https://doi.org/10.1038/s41598-018-23052-8 | (1) filter type, (2) filter preservation | freshwater river and lake | metazoans | 1 L | Two tested: 0.2 μm PES, 0.45 μm CN | Four tested: EtOH, lysis buffer, on ice (no buffer), dry (silica gel, no buffer, room temp) | Qiagen DNEasy Blood & Tissue | COI (two regions) | MiSeq 2 x 300 PE | ENA SRA: PRJEB21623 | MCE filters and preservation dry (with silica) or in lysis buffer provided the best results, compared to other filter materials and buffers
Mäki et al. 2017 | https://doi.org/10.3389/fmicb.2017.01848 | (1) sample preservation, (2) DNA extraction | artificial seawater with mock communities | eukaryotic phytoplankton | NA (centrifugation) | NA | Two tested: cell suspension at -80° C (2 weeks), sample storage in Lugol's solution at 4° C | Five tested: Qiagen DNEasy Plant Mini kit (with/without additional mechanical lysis), MoBio PowerWater DNA Isolation kit, MoBio Power Biofilm DNA Isolation kit (with/without additional enzymatic lysis) | 18S rRNA | qPCR, Sanger and Ion Torrent PGM sequencing | ERA: PRJEB22147 (Sanger), amplicon sequences not provided | Highest DNA yield from Power Biofilm kit without additional mechanical or enzymatic lysis. Lugol preservation improved algal species detection for PowerWater and Biofilm kits over -80° C storage. RNA-based analyses more accurately represented the mock communities than DNA-based analyses.
Moushomi et al. 2019 | https://doi.org/10.1038/s41598-019-48984-7 | filter pore size | freshwater aquariums | Daphnia magna | 500 mL | Three tested: 0.2 μm, 1.0 μm, 10 μm (sequential filtering); material not provided | Stored dry at -20° C | Qiagen DNEasy Blood & Tissue (modified) | 18S rRNA & COI | None | Figshare: https://doi.org/10.6084/m9.figshare.9699143 | Daphnia eDNA was most prevalent in effluent water and 0.2 μm size fraction compared to 1 and 10 μm size fractions.
Oldham et al. 2019 | https://doi.org/10.1016/j.mimet.2019.01.006 | (1) immediate vs delayed water filtration, (2) filter preservation, (3) cell lysis, (4) DNA extraction | seawater from PVC pipe | prokaryotes | 3 L | 0.2 μm PES | Two tested: DNAzol, RNA lysis buffer + ß-mercaptoethanol; stored at -80° C | Two lysis buffers and associated extraction kits tested: Maxwell® 16 Tissue LEV Total RNA Purification Kit and Maxwell®16 LEV simplyRNA Blood Kit | 16S rRNA | MiSeq 2 x 250 PE amplicon sequencing | NCBI SRA: SAMN10594103 and SAMN10594104 | Recommendation: immediate preservation of seawater samples, with DNAzol preferred over RLA+ for DNA and diversity assessments but RLA+ if RNA will be extracted.
Padilla et al. 2015 | https://doi.org/10.3389/fmicb.2015.00 | (1) filter pore size fraction (in-line), (2) volume filtered | seawater (oxygen minimum zone) | prokaryotes | 0.1, 0.5, 1, 2, and 5 L | 1.6 µm glass fiber and 0.2 µm PES (Sterivex) | lysis buffer at -80°C | in-house protocol: phenol:chloroflorm:isoamyl alcohol and Amicon filter tubes | 16S rRNA | qPCR and MiSeq 2 x 250 PE amplicon sequencing | NCBI SRA: BioProject ID PRJNA275901
Renshaw et al. 2014. | https://doi.org/10.1111/1755-0998.12281 | (1) filter type, (2) preservation buffer, (3) DNA extraction protocol | freshwater aquariums | bluegill | 250 mL | Four tested: 0.8 μm CN, 0.8 μm PES, 1.0 μm PCTE, 1.5 μm GMF | Four buffers tested: CTAB, RNALater, Longmire's, and 20% DMSO. Three temperatures tested: -20° C, 20° C, 45° C. Three storage times tested: none (immediate extraction), one, and two weeks | Three tested: Qiagen DNEasy Blood & Tissue, MoBio PowerWater, and phenol-chloroform-isoamyl alcohol | cytochrome b | qPCR | NA | No difference in eDNA yield or results with Longmire's buffer storage for 14 days at 20° C compared to immediate extraction. CN and PES filters combined with CTAB or Longmire's buffers yielded the most eDNA at 20° C compared to other filters and buffers.
Rissanen et al. 2010 | https://doi.org/10.1007/s00253-010-2838-2 | sample preservation | freshwater and brackish sediments | prokaryotes | NA | NA | Four buffers tested: none, EtOH, RNAlater, PCI. Three temperature/time combinations tested: -20° C for 24h, 4° C for 4 months, -20° C for 1 month, liquid N2 followed by -80° C for 1 month | in-house CTAB and chloroform:isoamyl alcohol protocol (Griffiths et al. 2000) | 16S rRNA | length heterogeneity-PCR and Sanger sequencing | EMBL database: FN995003-FN995093 | Sample storage frozen without preservative or in PCI performed better than other preservation methods. RNAlater produced lower DNA yields. Community composition of samples stored at 4° C without preservative were highly similar to controls, despite lower DNA levels.
Rochelle et al. 2010 | https://doi.org/10.1111/j.1574-6941.1994.tb00245.x | sample storage before processing | deep marine sediments | prokaryotes | NA | NA | Three tested: immediate freezing of sediment samples, aerobic sediment storage (24 h), anaerobic processing of sediments (16° C, ~12h) | in-house PCI protocol | 16S rRNA | Sanger sequencing | NA | GenBank: U07035, U09570 to U09575, U09773 to U09780, U09826to U09830, U09845
Spens et al. 2016 | https://doi.org/10.1111/2041-210X.12683 | (1) filter type, (2) preservation buffer, (3) storage time | lake | pike and perch | 1 L | Three filters tested: Sterivex, PCTE, GF; also EtOH precipitation | Five tested: (i) 99% EtOH at RT, (ii) Longmire's buffer at RT, (iii) RNALater at RT, (iv) dry at -20° C, (v) dry at 8-10° C; three storage times tested: 5 hours, 24 hours, 2 weeks | Qiagen DNEasy Blood & Tissue (modified) | cytochrome b | qPCR | NA | Sterivex filters captured the most fish eDNA compared to membrane PCTE or GF (or EtOH precipitation). Sterivex also fared better after two weeks of storage at RT, even better with preservation buffer (Longmires or ethanol, NOT RNALater).
Takahashi et al. 2020 | doi.org/10.1371/journal.pone.0231718 | (1) filter type, (2) filter preservation | coastal seawater | five marine fish species and two cnidarian species | 1 L | Two tested: 0.45 μm Sterivex and 0.7 μm GF/F | Sterivex: RNALater at RT and 4° C, GF/F: stored dry at -20° C | Qiagen DNEasy Blood & Tissue | COI and cytochrome b | qPCR | NA | GF/F collected more eDNA, but Sterivex provided higher eDNA sensitivity
Thomas et al. 2019 | doi.org/10.1111/2041-210X.13212 | filter type | freshwater mesocosms | mudsnail and spotted frog | 500 mL | Two tested: 1.0 μm PES (self-preserved) and 0.45 µm CN (EtOH preserved) | Two tested: self-preservation (Smith-Root eDNA Sampler) at RT, EtOH at RT | Qiagen DNEasy Blood & Tissue | cytochrome b | qPCR | NA | A new eDNA filter housing automatically preserved eDNA via desiccation and performed as well as EtOH-preserved filters.
Torres-Beltran et al. 2019 | doi.org/10.3389/fmars.2019.00132 | (1) in situ (automated) vs shipboard filtration, (2) filter type, (3) volume filtered | anoxic marine water | prokaryotes and picoeukaryotes | 250 mL - 2 L | 0.4 µm GF/F, 0.4 µm PC, 2.7 µm GF/D followed by 0.22 µm Sterivex (PC) | sucrose lysis buffer (DNA) or RNAlater (RNA) at -80° C | in-house PCI protocol (DNA) or mirVana RNA isolation kit (Ambion) | microbial 16S rRNA | Roche 454 GS FLX Titanium amplicon sequencing | NCBI: BioSample SAMN05392373–SAMN05392466 | Filter size-fractionation separated particle-associated and free-living microbes. Filtration and preservation in situ yielded different communities from shipboard processing, potentially providing information on sulfur-cycling microbes that woudl have otherwise been missed. Co-variance of different filter types with sample volume confounded results on effects of either one.
Tsuji et al. 2017 | https://doi.org/10.1007/s10201-016-0483-x | (1) water pH, (2) proteinase K treatment | pure water spiked with DNA | carp and ayu | 500 - 600 mL | 0.7 µm GF/F | Stored dry at -20° C | Qiagen DNEasy Blood & Tissue | cytochrome b | qPCR | NA | DNA yield was higher under acidic conditions, and proteinase K treatment increased yields
Turner et al. 2014 | https://doi.org/10.1111/2041-210X.12206 | filter pore size | freshwater ponds | carp | 150 - 250 mL | 20,10, 1, and 0.2 µm PC; also EtOH precipitation of filtrate | CTAB buffer at -20° C | in-house CTAB (https://doi.org/10.4319/lom.2005.3.381) | mitochondrial D-loop | Sanger sequencing | NA | Most total eDNA was in 0.2 µm filtrate but carp eDNA was most abundant in the 1-10 µm particle size fraction.
Ushio 2019 | https://doi.org/10.1111/2041-210X.13204 | DNA extraction | freshwater and coastal seawater | prokaryotes | 20 - 100 mL | 0.22 um PVDF Sterivex | RNALater and 4° C storage until extraction (~2 hours) | Three tested: Qiagen DNEasy with ("Beads") and without ("NoBeads") Zirconia beads added, and opening cartridge & DNEasy PowerSoil kit | 16S rRNA | MiSeq 2 x 250 and 2 x 300 PE amplicon sequencing | NCIB BioProject PRJDB7110 | Addition of a bead-beating step inside the filter cartridge improved both the DNA yield and the number of prokaryotic ASVs detected compared with two other common approaches.
Wegleitner et al. 2015 | https://doi.org/10.1007/s12686-015-0483-x | storage time at RT | river | round goby | 2 L | PC | Longmire's buffer at RT: immediate extraction vs 150 day delay | Not provided | COI | ddPCR | NA | No significant difference in gene copy numbers after 150 days in Longmire's buffer at RT.
Zaiko et al. 2022 | https://doi.org/10.1111/2041-210X.13879 | (1) nucleic acid state (intra- vs extra-cellular), (2) prefiltration state, (3) filter type | artificial seawater | Alexandrium pacificum | 100 mL | 4 tested: 5 μm cellulose acetate (CA), 1.2 μm CA, 0.45 μm CA, 1.2 μm positively-charged nylon (PCN) | Stored dry at -80° C | Zymo BashingBeads lysis tubes & ZR-Duet DNA/RNA™ MiniPrep kit | large ribosomal subunit (28S) | ddPCR | NA | DNA yield from free DNA was significantly later from that of whole or sonicated cells. PCN filters yielded higher DNA copy numbers for free DNA but not for whole or sonicated cells.